## Slide 1: DICOM De-Identification Tool
Secure Medical Imaging Anonymization
Training Session • March 2026

## Slide 2: The Challenge: Medical Data Privacy
DICOM files contain sensitive patient information:
• Patient names and IDs embedded in metadata
• Birth dates and study dates for identification
• Burned-in text overlays on pixel data
• Unique identifiers (UIDs) linking to source systems
Regulatory Requirements:
• HIPAA (US): Requires de-identification for research
• GDPR (EU): Patient consent and data minimization
• Hospital protocols: Additional privacy standards

## Slide 3: Why This Matters
Real-world risks of improper anonymization:
• Data breach exposure during research collaboration
• Accidental patient re-identification from metadata
• Liability and compliance violations
• Loss of institutional trust
What we need:
✓ Remove all personally identifiable information
✓ Maintain data utility for research
✓ Enable reproducible de-identification
✓ Create audit trails for compliance verification

## Slide 4: Traditional vs. Better Approach
❌ Random pseudonymization:
• Different pseudonyms on each run
• Cannot link related studies from same patient
• Manual re-anonymization needed for new batches
✓ Deterministic pseudonymization:
• Same patient always gets same pseudonym
• Enable legitimate data linkage (e.g., multi-series studies)
• Reproducible: re-run with same SALT produces identical results
• Keyed by secret phrase: only those with SALT can re-identify

## Slide 5: Our Solution: DICOM De-Identification Tool
Purpose:
• Convert DICOM files from identifiable to research-grade
• Use deterministic pseudonymization based on secret phrase (SALT)
• Safely handle both metadata and pixel data
Key Strengths:
• Preserves ability to link related images from same patient
• Creates comprehensive audit log of all changes
• Mask burned-in text on images (OpenCV-based)
• Never modifies original files (safe batch processing)
• Flexible profiles for different use cases

## Slide 6: How Deterministic Pseudonymization Works
Process:
1. User provides SALT phrase (e.g., 'my-secret-key')
2. Tool extracts PatientID from DICOM file
3. Creates deterministic hash: SHA1(PatientID + SALT)
4. Generates consistent pseudonym: PX + first 6 hex chars
Example:
Original PatientID: '12345'
SALT: 'SecretKey2026'
Pseudonym: PX3F91AD (always same for this patient & SALT)
Benefit: Same patient's multiple studies always link together

## Slide 7
Core Features: Anonymization & Safety
Anonymization Actions
• PatientName → 'ANON' or pseudonym
• PatientID → PX + 6-digit hash
• Birth/Study dates → Remove or keep
• UIDs → Random or deterministic
• Private tags → Remove completely
• Pixel data → Blackout text overlays
Safety Guarantees
⚓ Never modifies source files
⚓ All changes logged to CSV
⚓ Timestamped output folders
⚓ Organized by patient pseudonym
⚓ Audit trail shows old→new values
⚓ Reversibility via SALT (if needed)

## Slide 8: Feature: Comprehensive Audit Logging
Every tag change is recorded in anonymization_log.csv:
• Input file path
• Output file path
• Patient ID (original & pseudonym)
• Tag name, original value, new value
• Timestamp and processing status
Use cases:
• Verify which tags were modified for compliance
• Track processing history for troubleshooting
• Reproduce specific patient's anonymization
• Provide evidence for regulatory audits

## Slide 9: Feature: Pixel Blackout & Batch Processing
Pixel Blackout:
• Detects burned-in clinical text (image overlays)
• Uses OpenCV edge detection algorithm
• Masks detected regions to prevent re-identification
• Automatic; no manual image editing needed
Batch Processing:
• Process single files or entire directory trees
• Organized output: DICOM/{PatientID}/{filename.dcm}
• Sequential processing (easily parallelizable)
• Handles large datasets efficiently

## Slide 10: Installation: System Requirements
Minimum Requirements:
• Python 3.8 or newer
• ~200 MB disk space for dependencies
• macOS, Linux, or Windows
Required Python Libraries (auto-installed):
• pydicom — DICOM file handling
• numpy — Array operations
• opencv-python — Image processing (pixel blackout)
• supporting libraries for UI modulation/packaging
Note: Pre-built executables available (no Python required)

## Slide 11: Installation: Quick Setup (Option 1 - Automated)
macOS / Linux:
$ cd /path/to/dicom_anonymization
$ bash setup_environment.sh
$ source .venv/bin/activate
Windows (PowerShell):
> cd C:\path\to\dicom_anonymization
> .venv\Scripts\Activate.ps1
Result:
✓ Virtual environment created (.venv/)
✓ All dependencies installed
✓ Ready to run anonymizer_pro.py

## Slide 12: Installation: Manual Setup (Option 2)
Step 1 - Create virtual environment:
$ python3 -m venv .venv
$ source .venv/bin/activate # or .venv\Scripts\activate on Windows
Step 2 - Install dependencies:
$ pip install --upgrade pip
$ pip install -r requirements.txt
Step 3 - Verify installation:
$ python anonymizer_pro.py --help
If successful, you'll see the tool's usage instructions

## Slide 13: Usage: Basic Command Structure
Required arguments:
-i, --input DICOM file or folder path
--salt Secret phrase for pseudonymization
Optional arguments:
-p, --profile-fname JSON profile file (default: GDPR-strict.json)
-o, --output Output directory (default: current directory)
Example - Single file with GDPR profile:
$ python anonymizer_pro.py \
-i patient_study.dcm \
-p GDPR-strict.json \
--salt 'my-secret-key'

## Slide 14
Anonymization Profiles: GDPR-strict vs. Research
GDPR-strict Profile
Maximum de-identification
• PatientName → 'ANON'
• PatientID → Pseudonym
• Birth/Study dates → Removed
• UIDs → Random (unique)
• Pixel blackout → Enabled
Use: Public data sharing
research-pseudonymized
Research-grade
• PatientName → Pseudonym
• PatientID → Pseudonym
• Study dates → Retained
• UIDs → Deterministic
• Pixel blackout → Off
Use: Institutional research

## Slide 15: Usage Examples: Common Scenarios
Scenario 1 - Single patient anonymization:
$ python anonymizer_pro.py -i patient_001.dcm --salt 'KEY2026'
Scenario 2 - Batch process with custom output:
$ python anonymizer_pro.py -i /data/studies/ \
-p research-pseudonymized.json \
-o /output/anonymized/ \
--salt 'SecureKey123'
Scenario 3 - GDPR compliance (strictest):
$ python anonymizer_pro.py -i /studies/batch/ \
-p GDPR-strict.json \
--salt $(cat /secure/.salt_file)

## Slide 16: Output Structure: What Gets Generated
Folder structure:
ANON_EXPORT_YYYYMMDD_HHMMSS/
├── anonymization_log.csv ← Audit trail
└── DICOM/
└── PX3F91AD/ ← Patient pseudonym
├── PX3F91AD_..._S001_I0001.dcm
├── PX3F91AD_..._S001_I0002.dcm
└── ... (one file per image)
Filenames encode: Patient + Timestamp + Series + Image numbers
CSV log connects input→output files for verification

## Slide 17: Verification: Checking Results
Utility Scripts:
1. dump_dicom_metadata.py
Shows all DICOM tags in a file (before/after comparison)
2. validator.py
Verifies anonymized files match the profile requirements
3. compare_dicom_images.py
Side-by-side comparison of original vs anonymized headers
Recommended workflow:
Anonymize → Validate → Review log → Confirm safe for sharing

## Slide 18: Live Demo: What You'll See
We'll demonstrate:
✓ Running anonymizer on sample brain imaging data
✓ Output folder structure generated
✓ Audit log CSV showing all transformations
✓ Inspecting before/after metadata
✓ Verifying patient ID pseudonymization
Time: ~5 minutes (includes running tool + inspection)
Demo data: sample1/Brain 5 mm/ (36 DICOM images)
Profile: GDPR-strict (maximum de-identification)

## Slide 19: Questions & Resources
Documentation included:
📄 README.md — Project overview
📄 INSTALL.md — Detailed setup instructions
📄 Technical appendix — Architecture details
📄 Quick reference — Command cheat sheet
Support:
• Technical issues → Check appendix troubleshooting
• Profile customization → See JSON schema documentation
• Compliance questions → Review audit logging section
Questions?