## Tag list
Options | MD | SD | SK | MK
| Must Delete | Should Delete | Should Keep | Must Keep
Attribute Name | Tag | QAELUM | SERGAS | SKANDION | UNIGE | UoC
Affected SOP Instance UID | (0000,1000) |  | SK |  | SK
Requested SOP Instance UID | (0000,1001) |  | SK
Media Storage SOP Instance UID | (0002,0003) |  | SK
Referenced SOP Instance UID in File | (0004,1511) |  | SK
Instance Creator UID | (0008,0014) |  | SD |  | SK | SD
Instance Coercion DateTime | (0008,0015) |  |  |  |  | SD
SOP Instance UID | (0008,0018) |  | SK
Study Date | (0008,0020) |  | SK |  | SK | SD
Series Date | (0008,0021) |  | SK |  | SK | SK
Acquisition Date | (0008,0022) |  | SK |  | MK | MD
Content Date | (0008,0023) |  | SD |  | SK | MD
Overlay Date | (0008,0024) |  | SK |  |  | SD
Curve Date | (0008,0025) |  | MD
Acquisition DateTime | (0008,002A) |  | SK |  | MK | MD
Study Time | (0008,0030) |  | SK |  | SK | SD
Series Time | (0008,0031) |  | SK |  | SK | SK
Acquisition Time | (0008,0032) |  | SK |  | MK | SD
Content Time | (0008,0033) |  | SD |  | SK
Overlay Time | (0008,0034) |  | SK |  |  | SD
Curve Time | (0008,0035) |  | MD
Accession Number | (0008,0050) | SK | SD |  | SK | MD
Failed SOP Instance UID List | (0008,0058) |  | SK
Institution Name | (0008,0080) |  | MD |  |  | MD
Institution Address | (0008,0081) | MD | MD |  |  | MD
Institution Code Sequence | (0008,0082) | MD | MD |  |  | MD
Referring Physician's Name | (0008,0090) | MD | MD | MD |  | MD
Referring Physician's Address | (0008,0092) | MD | MD | MD |  | MD
Referring Physician's Telephone Numbers | (0008,0094) | MD | MD | MD |  | MD
Referring Physician Identification Sequence | (0008,0096) | MD | MD | MD |  | MD
Consulting Physician's Name | (0008,009C) | MD | MD | MD |  | MD
Consulting Physician Identification Sequence | (0008,009D) | MD | MD | MD |  | MD
Timezone Offset From UTC | (0008,0201) |  | SD |  |  | SD
Station Name | (0008,1010) |  | SK
Study Description | (0008,1030) | MD | SD |  |  | SD
Series Description | (0008,103E) |  | SK |  | SK | SK
Institutional Department Name | (0008,1040) |  | MD |  |  | MD
Institutional Department Type Code Sequence | (0008,1041) |  | MD |  |  | MD
Physician(s) of Record | (0008,1048) | MD | MD | MD |  | MD
Physician(s) of Record Identification Sequence | (0008,1049) | MD | MD | MD |  | MD
Performing Physician's Name | (0008,1050) | MD | MD |  |  | MD
Performing Physician Identification Sequence | (0008,1052) | MD | MD |  |  | MD
Name of Physician(s) Reading Study | (0008,1060) | ? | MD |  |  | SD
Physician(s) Reading Study Identification Sequence | (0008,1062) | ? | MD | MD |  | MD
Operators' Name | (0008,1070) | MD | MD |  |  | SD
Operator Identification Sequence | (0008,1072) | ? | MD |  |  | SD
Admitting Diagnoses Description | (0008,1080) |  | SD |  |  | SD
Admitting Diagnoses Code Sequence | (0008,1084) |  | SD |  |  | SD
Referenced Study Sequence | (0008,1110) |  | SK |  |  | MD
Referenced Performed Procedure Step Sequence | (0008,1111) |  | SD
Referenced Patient Sequence | (0008,1120) |  | MD
Referenced Image Sequence | (0008,1140) |  | SK
Referenced SOP Instance UID | (0008,1155) |  | SK
Transaction UID | (0008,1195) |  | SK |  |  | SD
Derivation Description | (0008,2111) |  | MD
Source Image Sequence | (0008,2112) |  | MD |  |  | MD
Irradiation Event UID | (0008,3010) |  | SK |  | SK
Identifying Comments | (0008,4000) |  | SD
Patient's Name | (0010,0010) | MD | MD | MD |  | MD
Patient ID | (0010,0020) | SD | MD | MD |  | MD
Issuer of Patient ID | (0010,0021) | ? | MD |  |  | SD
Patient's Birth Date | (0010,0030) | MD | SD |  | SK | SD
Patient's Birth Time | (0010,0032) | MD | MD | MD |  | MD
Patient's Sex | (0010,0040) | SK | MK |  | SK | MK
Patient's Insurance Plan Code Sequence | (0010,0050) | MD | MD | MD |  | MD
Patient's Primary Language Code Sequence | (0010,0101) | SD | MD | MD |  | MD
Patient's Primary Language Modifier Code Sequence | (0010,0102) | SD | MD | MD |  | MD
Other Patient IDs | (0010,1000) | SD | MD |  |  | SD
Other Patient Names | (0010,1001) | MD | MD |  |  | SD
Other Patient IDs Sequence | (0010,1002) | SD | MD |  |  | SD
Patient's Birth Name | (0010,1005) | MD | MD | MD |  | MD
Patient's Age | (0010,1010) | SK | MK |  | SK | MK
Patient's Size | (0010,1020) | SK | MK |  | SK | SK
Patient's Weight | (0010,1030) | SK | MK |  | SK | SK
Patient's Address | (0010,1040) | MD | MD | MD |  | MD
Insurance Plan Identification | (0010,1050) | SD | MD |  |  | MD
Patient's Mother's Birth Name | (0010,1060) | MD | MD | MD |  | MD
Military Rank | (0010,1080) |  | MD
Branch of Service | (0010,1081) |  | MD
Medical Record Locator | (0010,1090) |  | MD
Referenced Patient Photo Sequence | (0010,1100) |  | MD
Medical Alerts | (0010,2000) |  | SD
Allergies | (0010,2110) |  | SD
Country of Residence | (0010,2150) | SD | MD |  |  | MD
Region of Residence | (0010,2152) | SD | MD | MD |  | MD
Patient's Telephone Numbers | (0010,2154) | MD | MD | MD |  | MD
Patient's Telecom Information | (0010,2155) | MD | MD | MD |  | MD
Ethnic Group | (0010,2160) |  | SK
Occupation | (0010,2180) |  | MD |  |  | SD
Smoking Status | (0010,21A0) |  | SK
Additional Patient History | (0010,21B0) | MD | SD |  |  | SD
Pregnancy Status | (0010,21C0) |  | MK |  |  | MD
Last Menstrual Date | (0010,21D0) |  | SD
Patient's Religious Preference | (0010,21F0) | MD | MD | MD |  | MD
Patient's Sex Neutered | (0010,2203) | MD | MD |  |  | MD
Responsible Person | (0010,2297) | MD | MD |  |  | MD
Responsible Organization | (0010,2299) |  | MD |  |  | MD
Patient Comments | (0010,4000) | MD | MD | MD |  | MD
Clinical Trial Sponsor Name | (0012,0010) |  | SK
Clinical Trial Protocol ID | (0012,0020) |  | SK
Clinical Trial Protocol Name | (0012,0021) |  | SD
Clinical Trial Site ID | (0012,0030) |  | SD
Clinical Trial Site Name | (0012,0031) |  | SD
Clinical Trial Subject ID | (0012,0040) |  | SD
Clinical Trial Subject Reading ID | (0012,0042) |  | SD
Clinical Trial Time Point ID | (0012,0050) |  | SK
Clinical Trial Time Point Description | (0012,0051) |  | SD
Clinical Trial Coordinating Center Name | (0012,0060) |  | SD
Clinical Trial Series ID | (0012,0071) |  | SD
Clinical Trial Series Description | (0012,0072) |  | SD
Clinical Trial Protocol Ethics Committee Name | (0012,0081) |  | SD
Clinical Trial Protocol Ethics Committee Approval Number | (0012,0082) |  | SD
Maker Note | (0016,002B) |  | SD
Device Setting Description | (0016,004B) |  | SD |  |  | SD
Camera Owner Name | (0016,004D) | SD | SD
Lens Specification | (0016,004E) |  | SD
Lens Make | (0016,004F) |  | SD
Lens Model | (0016,0050) |  | SD
Lens Serial Number | (0016,0051) |  | SD
GPS Version ID | (0016,0070) | ? | MD
GPS Latitude​ Ref | (0016,0071) | ? | MD
GPS Latitude​ | (0016,0072) | ? | MD
GPS Longitude Ref | (0016,0073) | ? | MD
GPS Longitude | (0016,0074) | ? | MD
GPS Altitude​ Ref | (0016,0075) | ? | MD
GPS Altitude​ | (0016,0076) | ? | MD
GPS Time​ Stamp | (0016,0077) | ? | MD
GPS Satellites | (0016,0078) | ? | MD
GPS Status | (0016,0079) | ? | MD
GPS Measure ​Mode | (0016,007A) | ? | MD
GPS DOP | (0016,007B) | ? | MD
GPS Speed​ Ref | (0016,007C) | ? | MD
GPS Speed​ | (0016,007D) | ? | MD
GPS Track ​Ref | (0016,007E) | ? | MD
GPS Track | (0016,007F) | ? | MD
GPS Img​ Direction Ref | (0016,0080) | ? | MD
GPS Img ​Direction | (0016,0081) | ? | MD
GPS Map​ Datum | (0016,0082) | ? | MD
GPS Dest​ Latitude Ref | (0016,0083) | ? | MD
GPS Dest​ Latitude | (0016,0084) | ? | MD
GPS Dest ​Longitude Ref | (0016,0085) | ? | MD
GPS Dest ​Longitude | (0016,0086) | ? | MD
GPS Dest​ Bearing Ref | (0016,0087) | ? | MD
GPS Dest ​Bearing | (0016,0088) | ? | MD
GPS Dest ​Distance Ref | (0016,0089) | ? | MD
GPS Dest ​Distance | (0016,008A) | ? | MD
GPS Processing​ Method | (0016,008B) | ? | MD
GPS Area ​Information | (0016,008C) | ? | MD
GPS Date​ Stamp | (0016,008D) | ? | MD
GPS Differential | (0016,008E) | ? | MD
Contrast/Bolus Agent | (0018,0010) | SK | SK |  | SK
Device Serial Number | (0018,1000) | SK | SK |  | SK | SD
Device UID | (0018,1002) |  | SK |  | SK | SD
Plate ID | (0018,1004) |  | SD |  |  | MD
Generator ID | (0018,1005) |  | SK
Cassette ID | (0018,1007) |  | SK
Gantry ID | (0018,1008) |  | SK
Unique Device Identifier | (0018,1009) |  | SK
UDI Sequence | (0018,100A) |  | SK
Manufacturer's Device Class UID | (0018,100B) |  | MK
Protocol Name | (0018,1030) |  | SD
Acquisition Field Of View Label | (0018,11BB) |  | MK |  | SK
Acquisition Device Processing Description | (0018,1400) |  | MK
Target UID | (0018,2042) |  | SD |  |  | SD
Acquisition Comments | (0018,4000) | SD | MD |  | SK | SD
Transducer Identification Sequence | (0018,5011) |  | SD |  |  | SD
Detector ID | (0018,700A) |  | SD |  | SK | SD
Respiratory Motion Compensation Technique Description | (0018,9185) |  | MK
X-Ray Source ID | (0018,9367) |  | MK
Source Start DateTime | (0018,9369) |  | MK |  |  | MD
Source End DateTime | (0018,936A) |  | MK
X-Ray Detector ID | (0018,9371) |  | SK |  | SK
X-Ray Detector Label | (0018,9373) |  | SK
Multi-energy Acquisition Description | (0018,937B) |  | SK |  | SK
Decomposition Description | (0018,937F) |  | SK
Acquisition Protocol Description | (0018,9424) | SD | SK |  | SK
Start Acquisition DateTime | (0018,9516) |  | SK
End Acquisition DateTime | (0018,9517) |  | SK |  | SK | SD
Requested Series Description | (0018,9937) |  | MD
Contribution Description | (0018,A003) |  | MD
Study Instance UID | (0020,000D) |  | SK |  | SK | SD
Series Instance UID | (0020,000E) |  | SK |  | SK | SK
Study ID | (0020,0010) |  | SD |  |  | MD
Frame of Reference UID | (0020,0052) |  | SK
Synchronization Frame of Reference UID | (0020,0200) |  | SK |  |  | SD
Modifying Device ID | (0020,3401) |  | MD
Modified Image Description | (0020,3406) |  | MD |  | SK
Image Comments | (0020,4000) |  | SD |  | SK | SD
Frame Comments | (0020,9158) |  | MK
Concatenation UID | (0020,9161) |  | SK
Dimension Organization UID | (0020,9164) |  | SK |  |  | SD
Palette Color Lookup Table UID | (0028,1199) |  | SK
Large Palette Color Lookup Table UID | (0028,1214) |  | SK
Image Presentation Comments | (0028,4000) |  | SD |  |  | SD
Study ID Issuer | (0032,0012) |  | SD |  |  | SD
Scheduled Study Location | (0032,1020) |  | MD |  |  | MD
Scheduled Study Location AE Title | (0032,1021) |  | MD |  |  | MD
Reason for Study | (0032,1030) | MD | SK
Requesting Physician | (0032,1032) | MD | MD |  |  | MD
Requesting Service | (0032,1033) | MD | MD |  |  | MD
Requested Procedure Description | (0032,1060) | MD | SD
Reason for Visit | (0032,1066) | MD | MD
Reason for Visit Code Sequence | (0032,1067) |  | MD
Requested Contrast Agent | (0032,1070) |  | SD
Study Comments | (0032,4000) |  | SD
Flow Identifier Sequence | (0034,0001) |  | MD
Flow Identifier | (0034,0002) |  | MD
Source Identifier | (0034,0005) |  | MD
Frame Origin Timestamp | (0034,0007) |  | MD
Referenced Patient Alias Sequence | (0038,0004) |  | MD
Admission ID | (0038,0010) |  | SD |  | SK | SD
Issuer of Admission ID | (0038,0011) |  | MD |  |  | SD
Issuer of Admission ID Sequence | (0038,0014) |  | MD |  |  | Sd
Scheduled Patient Institution Residence | (0038,001E) |  | MD |  |  | MD
Admitting Date | (0038,0020) |  | SD |  |  | SD
Admitting Time | (0038,0021) |  | SD |  |  | SD
Discharge Diagnosis Description | (0038,0040) |  | SD
Special Needs | (0038,0050) |  | MD
Service Episode ID | (0038,0060) |  | SK |  |  | SK
Issuer of Service Episode ID | (0038,0061) |  | MD |  |  | SD
Service Episode Description | (0038,0062) |  | SK |  | SK | SK
Issuer of Service Episode ID Sequence | (0038,0064) |  | MD |  |  | SD
Current Patient Location | (0038,0300) |  | MD |  |  | MD
Patient's Institution Residence | (0038,0400) |  | MD | MD |  | MD
Patient State | (0038,0500) |  | MD |  |  | MD
Visit Comments | (0038,4000) | SD | SD |  |  | SD
Multiplex Group UID | (003A,0310)
Impedance Measurement DateTime | (003A,0314) |  | SK
Scheduled Station AE Title | (0040,0001) |  | MD |  |  | MD
Scheduled Procedure Step Start Date | (0040,0002) |  | MD |  |  | MD
Scheduled Procedure Step Start Time | (0040,0003) |  | MD |  |  | MD
Scheduled Procedure Step End Date | (0040,0004) |  | MD |  |  | MD
Scheduled Procedure Step End Time | (0040,0005) |  | MD |  |  | MD
Scheduled Performing Physician's Name | (0040,0006) | MD | MD |  |  | MD
Scheduled Procedure Step Description | (0040,0007) | MD | MD |  |  | MD
Scheduled Procedure Step ID | (0040,0009) |  | MD |  |  | MD
Scheduled Performing Physician Identification Sequence | (0040,000B) |  | MD |  |  | MD
Scheduled Station Name | (0040,0010) |  | MD |  |  | MD
Scheduled Procedure Step Location | (0040,0011) |  | MD |  |  | MD
Pre-Medication | (0040,0012) |  | SD |  |  | MD
Performed Station AE Title | (0040,0241) |  | SD
Performed Station Name | (0040,0242) |  | SD
Performed Location | (0040,0243) |  | MD |  |  | MD
Performed Procedure Step Start Date | (0040,0244) |  | SD
Performed Procedure Step Start Time | (0040,0245) |  | SD
Performed Procedure Step End Date | (0040,0250) |  | SD |  |  | MD
Performed Procedure Step End Time | (0040,0251) |  | SD
Performed Procedure Step ID | (0040,0253) |  | MD
Performed Procedure Step Description | (0040,0254) |  | SD |  |  | MD
Request Attributes Sequence | (0040,0275) |  | SK |  | SK | SK
Comments on the Performed Procedure Step | (0040,0280) |  | SK
Comments on Radiation Dose | (0040,0310) |  | MK |  | SK
Specimen Accession Number | (0040,050A) |  | MK
Container Identifier | (0040,0512) |  | SD
Issuer of the Container Identifier Sequence | (0040,0513) |  | SD |  |  | SD
Container Description | (0040,051A) |  | SD
Specimen Identifier | (0040,0551) |  | SD
Specimen UID | (0040,0554)
Acquisition Context Sequence | (0040,0555) |  | MD |  | SK
Issuer of the Specimen Identifier Sequence | (0040,0562) |  | SD |  |  | SD
Specimen Short Description | (0040,0600) |  | SD
Specimen Detailed Description | (0040,0602) |  | SD
Specimen Preparation Sequence | (0040,0610) |  | SD
Slide Identifier | (0040,06FA) |  | MK
Requested Procedure ID | (0040,1001) |  | MD
Reason for the Requested Procedure | (0040,1002) |  | SK |  |  | SK
Patient Transport Arrangements | (0040,1004) | MD | MD | MD |  | MD
Requested Procedure Location | (0040,1005) |  | MD
Reason for Requested Procedure Code Sequence | (0040,100A) |  | SK |  |  | SK
Names of Intended Recipients of Results | (0040,1010) | MD | MD |  |  | SD
Intended Recipients of Results Identification Sequence | (0040,1011) |  | SD
Person Identification Code Sequence | (0040,1101) |  | MD |  |  | MD
Person's Address | (0040,1102) | MD | MD |  |  | MD
Person's Telephone Numbers | (0040,1103) | MD | MD |  |  | MD
Person's Telecom Information | (0040,1104) | MD | MD |  |  | MD
Requested Procedure Comments | (0040,1400) |  | SD
Reason for the Imaging Service Request | (0040,2001) | SD | SK
Order Entered By | (0040,2008) | SD | MD |  |  | SD
Order Enterer's Location | (0040,2009) | SD | MD |  |  | SD
Order Callback Phone Number | (0040,2010) | SD | MD |  |  | SD
Order Callback Telecom Information | (0040,2011) | SD | MD |  |  | SD
Placer Order Number / Imaging Service Request | (0040,2016) |  | SD
Filler Order Number / Imaging Service Request | (0040,2017) |  | SD |  |  | SD
Imaging Service Request Comments | (0040,2400) |  | SD
Confidentiality Constraint on Patient Data Description | (0040,3001) |  | MD
Scheduled Procedure Step Start DateTime | (0040,4005) |  | MD |  |  | MD
Scheduled Procedure Step Expiration DateTime | (0040,4008) |  | MD |  |  | MD
Scheduled Procedure Step Modification DateTime | (0040,4010) |  | MD |  |  | MD
Expected Completion DateTime | (0040,4011) |  | SD |  |  | SD
Referenced General Purpose Scheduled Procedure Step Transaction UID | (0040,4023) |  | SD
Scheduled Station Name Code Sequence | (0040,4025) |  | MD |  |  | MD
Scheduled Station Geographic Location Code Sequence | (0040,4027) |  | MD |  |  | MD
Performed Station Name Code Sequence | (0040,4028) |  | SD
Performed Station Geographic Location Code Sequence | (0040,4030) |  | SD
Scheduled Human Performers Sequence | (0040,4034) |  | MD |  | SK | MD
Actual Human Performers Sequence | (0040,4035) |  | SD |  |  | SD
Human Performer's Organization | (0040,4036) |  | MD |  |  | MD
Human Performer's Name | (0040,4037) | ? | MD |  |  | MD
Performed Procedure Step Start DateTime | (0040,4050) |  | SK
Performed Procedure Step End DateTime | (0040,4051) |  | SK
Procedure Step Cancellation DateTime | (0040,4052) |  | SK
Verifying Organization | (0040,A027) |  | SD |  |  | SD
Verifying Observer Sequence | (0040,A073) |  | SD |  |  | SD
Verifying Observer Name | (0040,A075) | ? | SD |  |  | SD
Author Observer Sequence | (0040,A078) |  | SD
Participant Sequence | (0040,A07A) |  | MD
Custodial Organization Sequence | (0040,A07C) |  | MD
Verifying Observer Identification Code Sequence | (0040,A088) |  | SD |  |  | SD
Person Name | (0040,A123) | MD | MD |  |  | MD
UID | (0040,A124) |  | SK
Observation UID | (0040,A171) |  | MD |  |  | SD
Referenced Observation UID (Trial) | (0040,A172) |  | SK
Observation Date (Trial) | (0040,A192) |  | MD |  |  | SD
Observation Time (Trial) | (0040,A193) |  | MD |  |  | SD
Current Observer (Trial) | (0040,A307) | ?
Verbal Source (Trial) | (0040,A352) |  | MD
Address (Trial) | (0040,A353) | MD | SD |  |  | SD
Telephone Number (Trial) | (0040,A354) | MD | MD |  |  | SD
Verbal Source Identifier Code Sequence (Trial) | (0040,A358) |  | SD |  |  | SD
Observation Subject UID (Trial) | (0040,A402) |  | MD |  |  | SD
Content Sequence | (0040,A730) |  | MD |  | SK
Template Extension Organization UID | (0040,DB0C) |  | MD |  |  | SD
Template Extension Creator UID | (0040,DB0D) |  | MD |  |  | SD
Container Component ID | (0050,001B) |  | MD
Device Description | (0050,0020) |  | MD
Long Device Description | (0050,0021) |  | MD
Tracking UID | (0062,0021) |  | MD |  |  | SD
Graphic Annotation Sequence | (0070,0001) |  | SK
Content Creator's Name | (0070,0084) | MD | MD | MD |  | MD
Content Creator's Identification Code Sequence | (0070,0086) | MD | MD | MD |  | MD
Fiducial UID | (0070,031A) |  | SK
Presentation Display Collection UID | (0070,1101) |  | SK
Presentation Sequence Collection UID | (0070,1102) |  | SK
Storage Media File-set UID | (0088,0140) |  | SK
Icon Image Sequence (see Note 12) | (0088,0200) |  | MD
Topic Title | (0088,0904) |  | SD
Topic Subject | (0088,0906) |  | SD |  |  | SD
Topic Author | (0088,0910) | MD | SD |  |  | SD
Topic Keywords | (0088,0912) |  | SD |  |  | SD
Digital Signature UID | (0400,0100) |  | SD
Referenced Digital Signature Sequence | (0400,0402) |  | MD
Referenced SOP Instance MAC Sequence | (0400,0403) |  | MD
MAC | (0400,0404) |  | MD
Modified Attributes Sequence | (0400,0550) |  | SK
Nonconforming Modified Attributes Sequence | (0400,0551) |  | MD |  |  | SD
Nonconforming Data Element Value | (0400,0552) |  | MD |  |  | SD
Original Attributes Sequence | (0400,0561) |  | MD |  |  | SD
Instance Origin Status | (0400,0600) |  | MD |  |  | MD
Text String | (2030,0020) |  | SD
Label Text | (2200,0002) |  | SK
Barcode Value | (2200,0005) |  | SK
Structure Set Label | (3006,0002) |  | MK
Structure Set Name | (3006,0004) |  | MK
Structure Set Description | (3006,0006) |  | MK
Structure Set Date | (3006,0008) |  | MK
Structure Set Time | (3006,0009) |  | MK
Referenced Frame of Reference UID | (3006,0024) |  | MK
ROI Name | (3006,0026) | ? | MK
ROI Description | (3006,0028) |  | MK
ROI Generation Description | (3006,0038) |  | MK
ROI Observation Label | (3006,0085) |  | MK
ROI Observation Description | (3006,0088) |  | MK
ROI Interpreter | (3006,00A6) |  | MK
Related Frame of Reference UID | (3006,00C2) |  | MK
First Treatment Date | (3008,0054) |  | SK |  | SK
Most Recent Treatment Date | (3008,0056) |  | SK |  | SK
Source Serial Number | (3008,0105) |  | SD |  |  | MD
Treatment Date | (3008,0250) |  | SK |  | SK | SD
Treatment Time | (3008,0251) |  | SK
RT Plan Label | (300A,0002) |  | SK
RT Plan Name | (300A,0003) |  | SK
RT Plan Description | (300A,0004) |  | SK
RT Plan Date | (300A,0006) |  | SK
RT Plan Time | (300A,0007) |  | SK
Prescription Description | (300A,000E) |  | MD |  |  | MD
Dose Reference UID | (300A,0013) |  | SK |  | SK
Dose Reference Description | (300A,0016) |  | SK |  | SK
Fraction Group Description | (300A,0072) |  | SK
Referenced Dose Reference UID | (300A,0083) |  | SK
Treatment Machine Name | (300A,00B2) |  | SK
Beam Description | (300A,00C3) |  | MK |  | SK
Bolus Description | (300A,00DD) |  | MK |  | SK
Fixation Device Description | (300A,0196) |  | SK
Shielding Device Description | (300A,01A6) |  | SK
Setup Technique Description | (300A,01B2) |  | SK
Source Manufacturer | (300A,0216) |  | SK |  |  | MD
Compensator Description | (300A,02EB) |  | SK
Treatment Position Group Label | (300A,0608) |  | SK
Treatment Position Group UID | (300A,0609) |  | SK
RT Accessory Holder Slot ID | (300A,0611) |  | SK
RT Accessory Device Slot ID | (300A,0615) |  | SK
Radiation Dose Identification Label | (300A,0619) |  | SK |  |  | SK
Radiation Dose In-Vivo Measurement Label | (300A,0623) |  | SK |  | SK | SK
RT Tolerance Set Label | (300A,062A) |  | SK
Patient Setup UID | (300A,0650) |  | MD |  |  | MD
Equipment Frame of Reference Description | (300A,0676) |  | SK
Radiation Generation Mode Label | (300A,067C) |  | SK |  | SK
Radiation Generation Mode Description | (300A,067D) |  | SK |  | SK | SK
Treatment Session UID | (300A,0700) |  | SK
Treatment Tolerance Violation Description | (300A,0734) |  | SK
Treatment Tolerance Violation DateTime | (300A,0736) |  | SK
Recorded RT Control Point DateTime | (300A,073A) |  | SK
Interlock DateTime | (300A,0741) |  | SK
Interlock Description | (300A,0742) |  | SK
Override DateTime | (300A,0760) |  | SK
Interlock Origin Description | (300A,0783) |  | SK
Reason for Omission Description | (300C,0113) |  | SK |  |  | SK
Reviewer Name | (300E,0008) | MD | MD |  |  | MD
Conceptual Volume UID | (3010,0006) |  | SK
Referenced Conceptual Volume UID | (3010,000B) |  | SK
Conceptual Volume Combination Description | (3010,000F) |  | SK
Constituent Conceptual Volume UID | (3010,0013) |  | SK
Source Conceptual Volume UID | (3010,0015) |  | SK
Conceptual Volume Description | (3010,0017) |  | SK
Device Alternate Identifier | (3010,001B) |  | SK
Device Label | (3010,002D) |  | MD
Referenced Fiducials UID | (3010,0031) |  | SK
User Content Label | (3010,0033) |  | SK
User Content Long Label | (3010,0034) |  | SK
Entity Label | (3010,0035) |  | MD
Entity Name | (3010,0036) |  | MD
Entity Description | (3010,0037) |  | MD
Entity Long Label | (3010,0038) |  | MD
RT Treatment Phase UID | (3010,003B) |  | SK
Manufacturer's Device Identifier | (3010,0043) |  | MD
Intended Phase Start Date | (3010,004C) |  | SK
Intended Phase End Date | (3010,004D) |  | SK
RT Prescription Label | (3010,0054) |  | SK
RT Treatment Approach Label | (3010,0056) |  | SK
RT Physician Intent Narrative | (3010,005A) | ? | SK
Reason for Superseding | (3010,005C) |  | MD
Prior Treatment Dose Description | (3010,0061) |  | SK
Dosimetric Objective UID | (3010,006E) |  | SK |  | SK | SD
Referenced Dosimetric Objective UID | (3010,006F) |  | SK
Treatment Site | (3010,0077) |  | SK |  |  | SD
Treatment Technique Notes | (3010,007A) |  | SK
Prescription Notes | (3010,007B) | MD | MD |  |  | MD
Fractionation Notes | (3010,007F) |  | MK
Prescription Notes Sequence | (3010,0081) |  | MK
Arbitrary | (4000,0010) |  | SD
Text Comments | (4000,4000) | MD | SD |  |  | SD
Results ID Issuer | (4008,0042) |  | MD |  |  | MD
Interpretation Recorder | (4008,0102) |  | MD
Interpretation Transcriber | (4008,010A) |  | MD
Interpretation Text | (4008,010B) |  | MD
Interpretation Author | (4008,010C) | MD | MD
Interpretation Approver Sequence | (4008,0111) |  | MK
Physician Approving Interpretation | (4008,0114) |  | MD | MD |  | MD
Interpretation Diagnosis Description | (4008,0115) | MD | MD
Results Distribution List Sequence | (4008,0118) |  | MD
Distribution Name | (4008,0119) |  | SD
Distribution Address | (4008,011A) |  | SD
Interpretation ID Issuer | (4008,0202) |  | MD
Impressions | (4008,0300) |  | SD
Results Comments | (4008,4000) | SD | MD |  |  | MD
Curve Data | (50xx,xxxx) |  | MD
Overlay Data | (60xx,3000) |  | SD
Overlay Comments | (60xx,4000) |  | SD
Digital Signatures Sequence | (FFFA,FFFA) |  | SD
Data Set Trailing Padding | (FFFC,FFFC) |  | MD
Private attributes | (gggg,eeee)* |  | SD